{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"external_links":1,"defined_names":2},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":3,"n_cols":11,"rows_kept":3,"merged":[[0,0,0,10]],"flags":["formulas_cached_only"]}
["中央生态环境保护督察群众信访举报转办和边督边改情况公开一览表\n（第二十五批  2024年6月3日）"]
["序号","受理编号","交办问题基本情况","行政区域","问题类型","调查核实情况","是否属实","办结目标","处理和整改情况","是否办结","责任人被处理情况"]
[59,"D3HN202406020145","衡阳市衡东县洣水河出现死鱼现象已有1周左右。","衡阳市","群众身边的生态环境问题","经调查核实，反映问题基本属实。5月28日上午10时左右发现洣水衡东段甘溪河坝上游出现漂浮死鱼，5月30日8时，洣水河各段无新发死鱼现象。","基本属实","核实查明原因，做好应急处置工作，保障水环境质量及人民群众饮水安全","处理情况：\n衡东县工作专班制定了处置工作方案：\n1、全力打捞并安全处置，截至5月31日上午，基本完成河面漂浮死鱼打捞，目前，全流域无新增死鱼。\n2、对洣水衡东段沿岸企业、入河口的排污情况进行拉网式排查，暂未发现沿岸企业存在偷排、超排迹象。\n3、衡阳市生态环境局衡东分局对洣水三个断面，14个采样点实行水质加密监测，28日以来，连续检测未发现重金属和微生物指标超标情况，县城饮用水源检测结果均符合生活饮用用水卫生标准，自来水水质和河水水质检测报告信息每天在政府门户网公布。\n整改情况：\n衡阳市生态环境局衡东分局在省生态环境厅的统一调度下，洣水衡东段共设置了6个监测断面，确定了 PH 、溶解氧、化学需氧量、氨氮、氟化物、氰化物、镉、砷等作为监测因子，开展实时监测。5月29日开始，衡东县农业农村局在县政府的统一领导下，在省农业农村厅、衡阳市农业农村局的指导下，组建调查组开展死鱼原因调查，邀请省水产科学研究所专家进行现场采样和调查，配合工作专班启动调查取证，进一步整合力量，全力查清事件原因。","未办结","无"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}